BIM User Guide: April 2025

ACO   RainTrak - threshold door drainage

User Guide for Autodesk Revit files

ACO RainTrak Packages

This project includes the following Revit families along with accessories.

- PF_ST_RainTrak- O_ACO_2022.rfa

- PF_ST_RainTrak-E_ACO_2022.rfa

Introduction and overview:

- There are 2 families in the model incorporating Based on sizes combination.

- Families are assigned to Omni class 23.70.50.24: Rainwater Removal.

- User can select each family from the type of selector in the project environment.

File characteristics and contents:

- File is under 2MB and designed to be user friendly.

- File is tagged with manufacture’s name, specification codes and other relevant information.

- Bill of materials (schedules) can also be accessed from the project environment.

Loading ACO RainTrak into the project:

- Download the ACO RainTrak rfa file and save it to a suitable location.

- Load the families into the project file.

- Navigate to the “Insert” icon on the Revit ribbon and click “Load Family”

- The file can now be placed into your project. Navigate to the “Architecture/Component” icons on the Revit ribbon and click “Place a Component”

Placing of families

Click on the model – At properties tool bar, it will display family name and family types.

- PF_ST_RainTrak- O_ACO_2022.rfa

- PF_ST_RainTrak-E_ACO_2022.rfa

- Selection of Gratings: At properties tool bar, it will display gratings<Generic models> click on the Down arrow for selecting four different gratings.

- RainTrak – O

- RainTrak – E

- Warning indication: for selection of Outlets: If user selects maximum number of outlets should exceed the length of the channel. then the warning pop will display as shown in image.

Note indication: "Position of the additional outlet is always towards the right side of the previous outlet"

- RainTrak – O

- RainTrak – E

Material Library:

The ACO RainTrak files contain materials that are already pre-loaded into the components. When loading the ACO RainTrak files into your project the pre-loaded materials will automatically transfer through.

Schedules and quantities:

The information such as article number, Product description, weight, installation guidelines within the parameters is stored as “shared Parameters” so can easily be appeared when creating a schedule and quantities in the project environment.